| Category | Description of Hazard/Risk | Inherent Risk Analysis |  | Inherent Risk Rating | Legislation | Standards/Codes/Guidance | UoM Management System | Controls | Opportunities | Residual Risk Analysis |  | Residual Risk Rating |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | L | C |  |  |  |  |  |  | L | C |  |
| - Chemical - Procurement - Storage - Handling - Use - Mixing - Novel - Unknown - Waste | Critical risk: - Higher risk and highly regulated chemicals: Operational risks: - Chemical exposure - acute or chronic: - inhalation - absorption - ingestion - injection - Fire and/or explosion from incorrect chemical: - storage - handling - labelling - mixing - Novel or unknown chemicals with uncertain properties - Time sensitive chemicals becoming unstable - Production, handling and disposal of hazardous wastes - Emissions: - air - water - soil/ground - Contamination from uncontrolled: - Escape - Spillage - Leakage. | Possible | Severe | Extreme | - Occupational Health and Safety Act 2004 (Vic) - Occupational Health and Safety Regulations 2017 (Vic) Part 4.1 Hazardous Substances and Materials - Occupational Health and Safety Regulations 2017 (Vic) Part 4.2 Scheduled Carcinogenic Substances - Dangerous Goods Act 1985 (Vic) - Dangerous Goods (Storage and Handling) Regulations 2022 (Vic) - Dangerous Goods (Explosives) Regulations 2022 (Vic) - Dangerous Goods (High Consequence Dangerous Goods) Regulations 2022 (Vic) - Drugs Poisons and Controlled Substances Regulations 2017 (Vic) - Drugs Poisons and Controlled Substances (Precursor Chemicals) Regulations 2007 (Vic) - Drugs Poisons and Controlled Substances (Volatile Substances) Regulations 2014 (Vic) - Therapeutic Goods Act 2010 (Vic) - Weapons of Mass Destruction (Prevention of Proliferation) Act 1995 (Cth) - Weapons of Mass Destruction 1995 (Cth) - Agricultural and Veterinary Chemicals (Victoria) Act 1994 (Vic) - Industrial Chemicals Act 2019 (Cth) | - Australian dangerous goods transport code - AS/NZS 1020: The control of undesirable static electricity - AS 1345: Identification of the contents of pipes, conduits and ducts - AS/NZS 1596: The storage and handling of LP Gas - AS 1894: The storage and handling of non- flammable cryogenic and refrigerated liquids - AS 1940: The storage and handling of flammable and combustible liquids - AS/NZS 2022: Anhydrous ammonia - Storage and handling - AS/NZS 2229: Fuel dispensing equipment for explosive atmospheres - AS/NZS 2243.2: Safety in laboratories – Chemical aspects - AS/NZS 2243.10: Safety in laboratories – Storage of chemicals - AS 2252.5: Controlled environments – Cytotoxic drug safety cabinets (CDSC) – Design, construction, installation, testing and use - AS2473 (series): Valves for compressed gas cylinders - AS 2507: The storage and handling of agricultural and veterinary chemicals - AS 2714: The storage and handling of organic peroxides - AS/NZS 2927: The storage and handling of liquefied chlorine gas - AS 3780: The storage and handling of corrosive substances - AS/NZS 3833: The storage and handling of mixed classes of dangerous goods, in packages and intermediate bulk containers - AS 3961: The storage and handling of liquefied natural gas - AS/NZS 4081: The storage and handling of liquid and liquefied polyfunctional isocyanates - AS 4326: The storage and handling of oxidizing agents - AS 4332: The storage and handling of gases in cylinders - AS/NZS 4452: The storage and handling of toxic substances - AS/NZS 4681: The storage and handling of Class 9 (miscellaneous) dangerous goods and articles - AS/NZS 5026: The storage and handling of Class 4 dangerous goods - AS/NZS 60079.10.1 Explosive atmospheres – classification of areas – Explosive gas atmospheres (IEC 60079-10-1 ed 1.0 [2008) mod) - Model Code of Practice. Preparation of safety data sheets (Cth) - Model Code of Practice. Labelling workplace chemicals (Cth) - Model Code of Practice: Managing risks of hazardous chemicals in the workplace (Cth) - Globally Harmonised System for the Classification and Labelling of Chemicals (GHS) information sheet (Cth) - Standard for the uniform scheduling of drugs and poisons (Cth) - Hazardous Chemical Information System (HCIS) - Hazardous Substances Information System (HSIS) (Cth) - Australian Industrial Chemicals Introduction Scheme (AICIS) - Health Monitoring Guides (Various) SafeWork Australia (Cth) - Compliance code Hazardous substances (Vic) - Evaluation of potential safety hazards associated with the use of engineered nanomaterials (Safe Work Australia) - Work Health and safety assessment tool for handling engineered nanomaterials (Safe Work Australia) - National hazard exposure worker surveillance: Exposure to dust, gases, vapours, smoke and fumes and the provision of controls for these airborne hazards in Australian workplaces (Cth) | - Health & Safety: Chemical management requirements - Health & Safety: Regulated plant requirements - Health & Safety: Personal protective equipment - Health & Safety: Risk management requirements - Health & Safety: Workplace inspection requirements - Health & Safety: Waste management requirements - Health & Safety: Spill management requirements | - GoldFFX – SDS repository, chemical manifest and inventory system - GoldFFX – SmartSuite app - Chemical management University website - Chemical management guidelines - Chemical risk assessments - Risk assessments that include chemical - Local standard operating procedures - Pre-purchase assessment – chemicals - Licensing agreements and requirements - Engineering controls such as: - fume cupboards - mechanical ventilation - extraction - Purpose built storage areas for cylinders and compressed gases - Restricted access to authorised personnel - Correct labelling, storage and segregation - Scheduled workplace assessments that include chemicals - Date labels on time sensitive chemicals - Emergency procedures for accidental release/spillage - Emergency showers and eye wash - Chemical management training - Gas safety training - Personal protective equipment training - Personal protective equipment - Hazardous waste removal procedures and processes - Health and Safety Services chemical subject matter expert - Monitoring: - workplace inspections - chemical inventory stocktake - atmospheric monitoring - health monitoring | Health and safety: - Eliminate hazards - Reduce risks Other: - Integrate with other processes - Reduce waste - Reduce environmental impact | Possible | Moderate | Medium |
| - Contracted services | - University's operations exposing contractor personnel - Contractor’s activities exposing contractor personnel - Contractor’s activities exposing UoM personnel and public - Contractor’s performance outcome (e.g. quality of work) - Higher consequence and/or highly regulated work | Possible | Severe | Extreme | - Occupational Health and Safety Act 2004 (Vic) - Occupational Health and Safety Regulations 2017 (Vic) Part 3.6 High Risk Work - Occupational Health and Safety Regulations 2017 (Vic) Part 5.1 Construction - Occupational Health and Safety Regulations 2017 (Vic) s 5A Extended definition of employer and employee — labour hire | - AS 4301 General conditions of tendering and tender form for design and construct contract - Contractor guidelines (Vic) - Information on engaging a contractor (Vic) - Checklist – Contractor, subcontractor (Vic) | - Health & Safety: Risk management requirements - Health & Safety: Contractor (service provider) requirements | - Contractor agreed scope of works and/or contracts prior to commencing work - Contractor supervision, performance monitoring and reviews - Contractor health and safety questionnaire - Contractor health and safety plans - Risk assessments - Local standard operating procedures - Safe work method statements - UoM Construction Design Standards - University contact person – authorising officer - Contractor Induction - Contractor licenses and accreditations - Hazardous Materials Register and labelling - Confined Space Register and signage - Request to interfere with services or safety conditions (RISC) | Health and safety: - Eliminate hazards - Reduce risks Other: - Integrate with other processes - Reduce waste - Reduce environmental impact - Improve stakeholder experience - Improve service experience | Unlikely | Moderate | Medium |
| - Aquatic Activities | Critical risk: - Higher risk and highly regulated aquatic activities Operational risks: - Hazardous marine flora & fauna - Inadequate competency - Abandoned/lost - Faulty equipment - Dams, ponds and other bodies of water | Unlikely | Severe | High | - Occupational Health and Safety Act 2004 (Vic) - Marine Safety (Domestic Commercial Vessel) National Law Act 2012 (Cth) - Marine Safety (Domestic Commercial Vessel) National Law Regulation 2013 (Cth) - Marine and Coastal Act 2010 (Vic) - Marine Safety Regulations 2012 (Vic) | - AS/NZS 2299 (series) Occupational diving operations - AS 1799.1 Small craft Part 1: General requirements for power boats - Dive Industry of Victoria Association (DIVA) Code of Practice - AS Australian Diver Accreditation Scheme [ADAS Board and Cth] - Marine Safety Victoria (Vic) - A guide to marine regulations and how they affect you (Vic) - Recreational boating safety handbook (Vic) - Guidelines for Safe Pool Operation (Royal Life Saving Australia) - Guidelines for Inland Waterway Safety (Royal Life Saving Australia) | - Health & Safety: Scientific diving requirements - Health & Safety: Risk management requirements | - Field work risk assessment - Field work guidelines - Field work plan - Dive plans - Risk assessments - Diver induction - Diver training - Diving teams - Maintenance of equipment - Swimming competency assessment - Supervision - Maintenance of boats and watercraft - Unattended swimming pool conditions of use and access restrictions - Attended swimming pool conditions of use and supervision | Health and safety: - Eliminate hazards - Reduce risks - Improve community wellbeing Other: - Improve environmental outcomes - Integrate with other processes - stakeholder experience | Unlikely | Moderate | Medium |
| - Electrical appliances and installations | Critical risk: Electric shock: - operating electrical appliances or installations - working on or near live electrical installations or appliances Operational risks: - Electrical equipment or appliances: - Faulty or damaged - Uncertified - Do not meet Standards and Codes - Overloaded - Electrical installations: - Multiple supply - Faulty, damaged or incorrect - Aged - Overloaded - Unprotected (insulation, RCD, earthing) - Temporary electrical installations - Electrical fire | Possible | Severe | Extreme | - Occupational Health and Safety Act 2004 (Vic) - Electrical Safety Act 1998 (Vic) - Electrical Safety (Equipment Safety Scheme) Regulations 2019 (Vic) - Electricity Safety (Management) Regulations 2019 (Vic) - Electricity Safety (General) Regulations 2019 (Vic) | - AS/NZS 1660 (series) Test methods for electric cables, cords and conductors - AS/NZS 3000 Electrical installations (Australian/New Zealand Wiring Rules) - Refer to AS/NZS 3000 wiring rules Appendix A referenced documents - AS/NZS 3105 Approval and test specification – Electrical and portable outlet devices - AS/NZS 3112 Approval and test specification – Plug and socket outlets - AS/NZS 3199 Approval and test specification – Cord extension sets - AS/NZS 3200: (Series) Approval and test specification - Medical electrical equipment - AS/NZS 3760 In-service safety inspection and testing of electrical equipment - Model code of practice. Managing Electrical risks in the workplace (Cth) - Electrical Equipment and safety guidelines (Vic) - Code of Practice of electrical safety for work on or near high voltage electrical apparatus “The Blue Book” (Vic) - Code of Practice on electrical safety for work on or near high voltage electrical apparatus (ESV) - Electricity hazards safety guide (ESV) - AS 5488 Classification of Subsurface Utility Information - Before you dig - Look up and live | - Health & Safety: Risk management requirements - Health & Safety: Electrical inspection and testing requirements - Health & Safety: Isolation, lock out, tag out requirements - Health & Safety: Unsafe plant and equipment requirements - Health & Safety: Purchasing requirements - Health & Safety: Service provider/contractor requirements | - Scheduled inspection and testing of portable electrical equipment: - in building with partial or no RCD protection of power outlets - in hostile environments - Residual Current Device (RCD) protection for power outlets - RCD testing - Certificates of Electrical Safety - Electrical installation by licensed electricians - Visual checks prior to use - Risk assessment - Standard operating procedures - Scheduled workplace inspections - Removing faulty equipment and tagging included in induction - Personal Protective Equipment - Request to interfere with services or safety conditions (RISC) - Identification of electrical infrastructure - Isolation - Safe zones - Electrical worker licenses - Lockout and tagout - Personal Protective Equipment | Health and safety: - Eliminate hazards - Reduce risks - Improve availability and reliability of equipment Other: - Integrate with other processes - Improve stakeholder experience | Rare | Major | Medium |
| - Events | - Venue operator’s activity exposing event personnel - Event activities exposing: - venue personnel - event personnel - public - Equipment hire - Temporary structures - Bump-in and bump-out processes - Large numbers of people/public - Harmful behaviours - Traffic hazards - Handling large bulky loads - After business hours - Controversial topics - High profile guests - Protests - Food safety and allergies - Waste - Gas cylinders - Fire - Access and egress - Electrical installations & appliances | Unlikely | Severe | High | - Occupational Health and Safety Act 2004 - Equipment (Public Safety) Regulations 2017 (Vic) - Child Safety Act 2017 - Food Act 1984 (Vic) - Vice-Chancellor Regulation | - AS/NZS 3002:2008 Electrical installations - Shows and carnivals - Advice For Managing Major Events Safely (WorkSafe Vic) - Guidelines for planning Safe Public Events (Victoria Police) - Traffic Management Guide – Events (Cth) - Code of Practice for The Safe Use of LP Gas at Public Events In Victoria (ESV) - Guide for community and not-for-profit groups: The Victorian Food Act 1984 and food safety regulation (DoH Vic) - Australia New Zealand Food Standards Code (Cth) - Allergen and intolerances: Factsheets for food businesses (DoH Vic) - Temporary Structures Standard (Australian Building Codes Board, Cth) - Prescribed temporary structures application guidelines (Victorian Building Authority) - Safety Guidelines for the Live Entertainment and Events Industries (Live Performance Australia) | - Alcohol Policy (MPF1267) - Child Safety Policy (MPF1337) - Health & Safety: Risk management requirements - Health & Safety: Event Safety guide | - Staff Hub – Events - Event planning guide - Risk assessments - Event management processes - Health and Safety website: Events management - Standard operating procedures for events - Food safety arrangements - Invitation control - Sustainability event management planning - Working with Children Check - Photography policy/permissions - University security - Emergency management guidance - Waste management guidance - Licensed electrical workers - BBQ SOP | Health and safety: - Eliminate hazards - Reduce risks - Improve community wellbeing Other: - Improve environmental outcomes - Integrate with other processes - Improve stakeholder experience | Rare | Major | Medium |
| - Hazardous Manual Handling | - Hazardous manual handling tasks/activities - Repetitive movement - High force - Sustained vibration - Repetitive or sustained: - application of force - awkward posture - Handling: - person or animal - unstable or unbalanced loads - loads difficult to grasp or hold - Contributing factors include: - poor workplace design and/or environment - poor systems of work - poor task design - poor task practices | Possible | Major | High | - Occupational Health and Safety Act 2004 (Vic) - Occupational Health and Safety Regulations 2017 (Vic) Part 3.1 Hazardous Manual Handling | - Model code of practice. Hazardous manual tasks (Cth) - Compliance code. Hazardous manual handling (Vic) - Hazardous manual handling health and safety guide (Vic) - Improving manual handling risk controls after musculoskeletal disorders (Vic) - Hazardous manual handling. Review and Revision of risk controls (Vic) - Improving the review and revision of manual handling risk controls (Vic) - Work related musculoskeletal disorders in Australia (Cth) - OfficeWise. A guide to health and safety in offices (Vic) | - Health & Safety: Hazardous manual handling requirements - Health & Safety: Ergonomic requirements - Health & Safety: Risk management requirement | - Health & Safety Website: Manual handling - University Design Standards - Safety-In-Design Assessment - Manual handling risk assessments - Workstation assessments - Mechanical aids and lifting devices - trolleys - forklifts - pedestrian stackers and walkers - platform ladders - hoists - Specific task-based training - Manual handling risk management training - Standard operating procedures | Health and safety: - Eliminate hazards - Reduce risks - Improve worker wellbeing Other: - Integrate with other processes - Improve productivity | Unlikely | Moderate | Medium |
| - Legal Compliance | - Injury and/or property damage - Workplace manslaughter - Prosecution and fines - Intervention programs - Enforceable undertaking - Reputational damage - Loss of funding: - government - private sector - other - Loss of certification or license - Restrictions/conditions to or loss of self- insurance approval | Rare | Severe | High | - Occupational Health and Safety Act 2004 (Vic) - Occupational Health and Safety Regulations 2017 (Vic) - Dangerous Goods Act 1985 (Vic) - Dangerous Goods regulations (Various) (Vic) - Workplace Injury Rehabilitation and Compensation Act 2013 (Vic) - Child Employment Act 2003 (Vic) - Child Safety Standards (Vic) - Child Wellbeing and Safety Act 2005 (Vic) - Control of weapons: Acts & Regs - Drugs Poisons Act - Equipment/Public Safety Reg - Therapeutic Goods Act - Weapons of Mass Destruction - Agriculture & Veterinary Chemicals - Industrial Chemical Act - Building Act - Telecommunications Act - Marine & Coastal Act and Regs - Firearms Act - Electrical Safety Act & Regs - Public Health & Wellbeing Act - Biological Control Act - Biosecurity Act - Roaf Safety Act & Regs - Labor Hire Licensing Act & Regs - Gene Technology Act - Health Act & Regs - Radiation Act & Regs | - AS/NZS ISO 31000 Risk management – Principles and guidelines - AS/NZS ISO 45001 Occupational Health and Safety Management System Requirements | - Health and Safety Policy (MPF1205) - Health & Safety: Management system documentation requirements - Health & Safety: Management system review and audit requirements - Health & Safety: Responsibilities and legal requirements - Health & Safety: Consultation representation and committee requirements - Health & Safety: Risk management requirements - Health & Safety: Incident, injury, hazard reporting and investigation requirements | - Certified Health and Safety Management System - Compliance training – Health and Safety - Annual Safety Management Systems review - Local monitoring of health and safety performance - Risk assessments - Licenses, permits and agreements - Authorising Officers - Records management and data control - University Health and Safety Committee - Health and safety management representatives - Health and safety representatives and designated work groups - Internal auditing - External auditing - Incident investigation and corrective actions - Hazard and incident reporting: - Enterprise Risk Management System - Snap, Send Solve - Health and safety resourcing – personnel and infrastructure - Workers’ compensation case management - Injury management return-to work processes and personnel | Other: - Improve stakeholder engagement | Rare | Minor | Low |
| - Traffic | Critical risk: - Powered vehicle interaction with people and collision Operational risks: - Construction vehicles - Altered traffic conditions – road works and temporary road diversions - Shared vehicles and pedestrians’ areas - Vulnerable pedestrians, including wheelchairs and prams - Diverse road users – bicycles & scooters & skaters - Uncontrolled vehicle access on campus - Unauthorised and/or unsafe parking - Uncontrolled loading dock area - Unsafe driving behaviours: - speeding - hooning - impairment – alcohol/drugs - Inaccurate or confusing signage & line marking | Possible le | Severe | Extreme | - Occupational Health and Safety Act 2004 (Vic) - Occupational Health and Safety Regulations 2017 (Vic) Part 3.5 Plant - Road Safety Act 1986 (Vic) - Road Safety (Traffic) Regulations 1988 (Vic) - Road Safety Rules 2009 (Vic) - Crimes Act 1958 (Vic) | - Forklift safety reducing the risk (Vic) - General Guide for Industrial Lift Trucks – Safe Work Australia (Cth) - Forklifts – Developing a traffic management plan (Vic) - Traffic management: guide – warehousing (Cth) - Traffic management guide – events (Cth) - Traffic management – general guide (Cth) - Guide to temporary traffic management (set) AustRoads (Cth) - Bike and car park areas: Comcare (Cth) - Vehicles as a Workplace Work Health and Safety Guide (Cth) | - Health & Safety: Risk management requirements - E-mobility devices – safety guidance | - Controlled access of vehicles onto campuses and workplaces - Traffic management plans: - speed limits on campus - designated delivery points - traffic signs - designated parking spaces - walkways and pathways - Risk assessments - Standard operating procedures - Designated parking – secure and covered parking - Mobile plant training and licenses - Security systems and support - Traffic Management contract: - parking restrictions and enforcement - access control - foot patrols - End of trip facilities | Health and safety: - Eliminate hazards - Reduce risks Other: - Integrate with other processes - Reduce environmental impact - Improve community experience | Unlikely | Moderate | Medium |
| - Off Campus Activities - Travel | Critical risk: - International and/or remote travel Risk factors: - Local travel - Domestic travel - International travel - Fitness for travel or activities - Ground transport, driving & traffic - Accommodation - Unexpected events & emergencies - Inadequate communication - Crime - Civil unrest and political tension - Terrorism - Climate & natural disasters - Health and medical care - Local laws - Entry and exit requirements - Remote locations - Food safety | Possible | Sever | Extreme | - Occupational Health and Safety Act 2004 (Vic) | - Outdoor Council of Australia website - Outdoors Victoria (Vic) - Adventure activity standards (Vic) - Travel Advisories DFAT (Cth) - Remote and isolated work (SafeWork Australia website) - Fatigue (SafeWork Australia website) - Safety when working off site (NSW) - Labour hire WorkSafe (Vic) | - Health & Safety: Travel and off campus requirements - Health & Safety: Vehicle use requirements - Health & Safety: Risk management requirements - Student travel and transport policy (MPF1209) - Alcohol policy (MPF1267) | - UniTravel booking system & travel service provider - Student travel registration system - Travel risk advisory service providers - Field work risk assessment - Field work plan - DFAT travel advisories - University of Melbourne Health Service - Travel to high-risk destinations risk assessment - Travel risk assessments - Medical declaration - International travel guide | Health and safety: - Eliminate hazards - Reduce risks Other: - Reduce environmental impact - Integrate with other processes - Improve community experience - Improve reporting and transparency | Rare | Major | Medium |
| - Off Campus Activities - Fieldwork | Critical risk: - Remote fieldwork Operational risks: - Ground transport - Communication - Navigation - First aid - Emergency - Food safety - Manual handling - Electrical - Environment - Aquatic - Camping - Flora & fauna - Equipment & machinery - Chemicals - Fatigue - Fitness for travel or activities - Natural disasters | Possible | Severe | Extreme | - Occupational Health and Safety Act 2004 (Vic) - Road Safety Act 1986 (Vic) - Road Safety (Drivers) Regulations 2019 (Vic) - Road Safety (Road Rules) Regulations 1999 (Vic) | - Outdoor Council of Australia website - Outdoors Victoria (Vic) - Adventure activity standards (Vic) - Travel Advisories DFAT (Cth) - National guidelines for working alone or in a remote locality [Cth Safety Management Forum] - Fatigue (SafeWork Australia website) - Safety when working off site (NSW) | - Health & Safety: Travel and off campus requirements - Health & Safety: Vehicle use requirements - Health & Safety: Risk management requirements - Student travel and transport policy (MPF1209) - Alcohol policy (MPF1267) | - UniTravel booking system & Travel service provider - Student travel registration system - Travel Risk Advisory service provider - Field work risk assessment - Field work plan - DFAT travel advisories - University of Melbourne Health Service - Travel to high-risk destinations risk assessment - Non-UniTravel risk assessments - Medical declaration - Local induction - Working from home and remotely | Health and safety: - Eliminate hazards - Reduce risks - Improve worker wellbeing Other: - Reduce environmental impact - Improve stakeholder experience | Rare | Major | Medium |
| - Labour hire and work-integrated learning | - Student placement - Work integrated leaning - Labour hire services – placement of employees with host employers | Unlikely | Major | High | - Occupational Health and Safety Act 2004 (Vic) - Labour Hire Licensing Act 2018 (Vic) - Labour Hire Licensing Regulations 2018 (Vic) | - Labour hire WorkSafe (Vic) - Placing workers in safe workplaces. Safety management systems guide for labour hire agencies (Vic) - Guidance note: Work-integrated learning. TEQSA (Cth) - Labour Hire Authority website (Vic) | - Student travel and transport policy (MPF1209) - Courses, Subjects, Awards and Programs Policy (MPF1327) - Health & Safety: Travel and off campus requirements - Health & Safety: Vehicle use requirements - Health & Safety: Risk management requirements - Professional Placement Guidelines | - Placement contracts/agreements - Local induction - Provision of information (e.g., handbook) - Host organisation information - Working from home and remotely - University website - Placement assessments | Health and safety: - Eliminate hazards - Reduce risks - Improve worker wellbeing Other: - Integrate with other processes - Improve stakeholder experience | Rare | Major | Medium |
| - Working at Heights | Critical risk: Work at heights > 2m Operational risks: - Working close to an unprotected edge - Unsuitable working environment: - slippery roof - brittle roof - indistinguishable skylights - faulty anchor points - adverse weather conditions (wind and rain) - Inappropriate use of access and/or fall arrest equipment: - ladders - scaffold - elevated work platform - harnesses and lanyards - anchor points - Unsecured equipment | Possible | Severe | Extreme | - Occupational Health and Safety Act2004 (Vic) - Occupational Health and Safety Regulations 2017 (Vic) Part 3.3 Prevention of Falls | - AS/NZS 1576 (series) Scaffolding - AS 1577 Scaffold planks - AS 1657 Fixed platforms, walkways, stairways and ladders – Design, construction and installation - AS/NZS 1891 (series) Industrial fall-arrest systems and devices - AS/NZS 1892 (series) Portable Ladders - AS/NZS 4576 Guidelines for scaffolding - Compliance code. Prevention of falls in general construction (Vic) - A guide to falls prevention (Vic) - Basic steps for preventing falls from heights (Vic) - Falls prevention (WorkSafe) Vic - Prevention of falls – ladders (Vic) - Working at heights WorkSafe (Vic) - Safety Guidelines for the Live Entertainment and Events Industries (Live Performance Australia) | - Health & Safety: Working at heights requirements - Health & Safety: Regulated plant requirements - Health & Safety: Personal protective equipment requirements - Health & Safety: Risk management requirements | - Fall protection: - handrails and barriers - elevated work platforms - scaffolding - fall arrest and anchor point systems - Roof access restrictions - Risk assessments - Standard operating procedures - Height safety training - Fall arrest training - Accessing heights under suitable weather conditions - Restricted access and entry points to unprotected fall risk locations - Ladder training - Elevated work platform training - Barricading - Exclusion zones | Health and safety: - Eliminate hazards - Reduce risks Other: - Integrate with other processes - Improve stakeholder experience - Secure assets | Rare | Major | Medium |
| - Falling objects | Critical risk: Falling objects Operational risks: - Working above people - Building facades - Tree branches - Theatre operations - Crane operations - Balconies and roof - Bridges and elevated walkways - Ceiling and wall fixtures and fittings | Possible | Severe | Extreme | - Occupational Health and Safety Act2004 (Vic) - Occupational Health and Safety Regulations 2017 (Vic) Part 3.5 Plant - Occupational Health and Safety Regulations 2017 (Vic) Part 3.3 Prevention of Falls | - Compliance code. Prevention of falls in general construction (Vic) - Compliance code. Plant (Vic) - Prevention of and protection from falling objects on midrise structures (Vic) - Construction Safety Focus: Falling Objects (Vic) - Falling Objects Fact Sheet (SWA) - AS 1657 Fixed platforms, walkways, stairways and ladders – Design, construction and installation - AS2785 Suspended Ceilings – Design and Installation - AS 4084 Steel storage racking - AS 4373 Pruning of amenity trees - AS 4991 Lifting Devices - AS 4970 Protection of trees on development sites - Safety Guidelines for the Live Entertainment and Events Industries (Live Performance Australia) - Dogging and slinging techniques (WorkSafe Victoria website) | - Health & Safety: Working at heights requirements - Health & Safety: Regulated plant requirements - Health & Safety: Risk management requirements - Steel Storage Racking Guidance | - Roof access restrictions - Risk assessments - Facade inspection program - Barricading - Exclusion zones - UoM Design standards – balustrades - UoM Design standards – ceiling fixing methodology - Storage racking systems – Safe Working Limit - Storage racking systems – Inspection program - Falling Object Protection systems – Earthmoving mobile plant | Health and safety: - Eliminate hazards - Reduce risks Other: - Integrate with other processes - Improve stakeholder experience | Rare | Moderate | Low |
| - Accommodation Services | - General shared facilities: - conflict - impairment (alcohol/other) - noise - property damage/loss - laundromat facilities - Using communal kitchen: - fire - injury - spilt food/liquids - Uncontrolled personal items: - chemicals - electrical equipment - prohibited weapons - In rural areas, unfamiliar with environment - bush fire - flooding - animals - isolation - Contractors: - working in and around facilities - managing facilities | Unlikely | Moderate | Medium | - Occupational Health and Safety Act 2004 (Vic) - Residential Tenancies Act 1997 - Residential Tenancies Amendment (Student Accommodation) Regulations 2010 | - Building Code of Australia (Cth) - First Aid Compliance Code (Vic) - AS 1670 (series) Fire Detection, Warning, Control and Intercom Systems - AS/NZS 1841 (series) Portable Fire Extinguishers - AS 3745 Emergency Control Organisation and Procedures for Buildings, Structures and Workplaces | - Alcohol Policy (MPF1267) - Health & Safety: Emergency preparedness and response requirements - Health & Safety: First aid requirements - Health & Safety: Electrical inspection and testing requirements - Health & Safety: Contractor (service provider) requirements | - Scheduled servicing and testing fire and emergency equipment. - Warden training - Emergency training (evacuation drill) - First aid procedures - Scheduled electrical inspection and testing - Scheduled accommodation inspection and maintenance - Scheduled servicing of infrastructure and equipment/plant - Contractor management - Local induction - Provision of information in “Accommodation Handbook’ | Health and safety: - Eliminate hazards - Reduce risks - Improve community wellbeing Other: - Integrate with other processes | Rare | Minor | Low |
| - Asbestos and Hazardous Materials | - Exposure to hazardous building materials: - asbestos - lead - synthetic mineral fibres - polychlorinated biphenyl - crystalline silica - non-conformant cladding - Asbestos and hazardous materials waste - Exposure to hazardous soil conditions - Exposure to hazardous materials contained in plant and equipment | Unlikely | Major | High | - Occupational Health and Safety Act 2004 (Vic) - Occupational Health and Safety Regulations 2017 (Vic) Part 4.3 Lead - Occupational Health and Safety Regulations 2017 (Vic) Part 4.4 Asbestos | - AS 2601 The demolition of structures - Compliance code. Managing asbestos in the workplace (Vic) - Model code of practice. How to manage and control asbestos in the workplace (Cth) - Asbestos WorkSafe (Vic) - Lead: A guidebook for workplaces (Vic) | - Health & Safety: Asbestos and hazardous materials requirements - Health & Safety: Risk management requirements - Health & Safety: Signage requirements - Health & Safety: Waste management requirements | - Division 5 asbestos survey and risk assessment - Division 6 asbestos survey and risk assessment - Hazardous materials survey and risk assessment - Hazardous materials building registers - Consultants with knowledge and skills in asbestos and hazardous materials surveys and management plans - Licensed asbestos contractors/removalist - Occupational hygienists - Asbestos and hazardous materials register - Asbestos management plan - Signage and labelling - Asbestos awareness training - Restricted access - Hazardous waste removal procedures and process - Contractor induction including reference to hazardous materials | Health and safety: - Eliminate hazards - Reduce risks - Improve worker wellbeing Other: - Integrate with other processes - Reduce environmental impact - Improve stakeholder experience | Rare | Moderate | Low |
| - Alcohol and Drugs | - At risk behaviour - Inappropriate behaviour - Harmful behaviour - Aggression or violence - Impairment – plant, equipment or vehicle - Impairment – working in hazardous environment - Used sharps – infectious disease | Rare | Major | Medium | - Occupational Health and Safety Act 2004 (Vic) | - Australian Drug Information network website (Cth) - Guide to developing a workplace alcohol and other drugs policy (Vic) - Alcohol WorkSafe website (Vic) - Drugs and alcohol SWA website (Cth) | - Alcohol Policy (MPF1267) - Student conduct policy (MPF1324) - Appropriate Workplace Behaviour Policy (MPF1328) - Sexual Misconduct Prevention and Response Policy (MPF1359) - Health & Safety: Risk management requirements | - Responsible service of alcohol requirements - Conditions of employment - Event authorisation processes - Risk assessments - Event management - Local area procedures and processes - Sharps disposal facilities | Health and safety: - Eliminate hazards - Reduce risks - Improve community wellbeing Other: - Integrate with other processes | Rare | Moderate | Low |
| - Biological (and other pathogen) Research & Activities | Critical risk: Higher risk and highly regulated biologicals Operational risks: - Pathogen exposure/contamination: - bacterium - virus - prion - fungus - molds - parasites - biological toxin - Genetically modified organisms (GMO) - Release of biological agent into uncontrolled environment - Working with animals - Importation and exportation of biological materials - Infectious wastes - Humans introducing biological hazards e.g. travelling - Unsafe laboratory practices | Unlikely | Major | High | - Occupational Health and Safety Act 2004 (Vic) - Gene Technology Act 2001 (Vic) - Gene Technology Act 2000 (Cth) - Gene Technology Regulations 2021 (Vic) - Dangerous Goods Act 1985 (Vic) - Dangerous Goods (Storage and Handling) Regulations 2022 (Vic) - Public Health and Wellbeing Act 2008 (Vic) - Health (Infectious Diseases) Regulations 2001 (Vic) - Biological Control Act 1986 (Vic) - Biological Control Act 1984 (Cth) | - AS/NZS 2243.3 Safety in laboratories – Microbiological aspects and containment facilities - AS 2252 (series) Biological safety cabinets - AS/NZS 3816 Management of Clinical and Related Wastes - AS 4031 non-reusable containers for the collection of sharp medical items used in health care areas - AS/NZS 4261 Reusable Containers for the collection of sharp items used in human and animal medical applications - HB 202-2000 A management system for clinical and related wastes - Guide to application of AS/NZS 3816-1998, management of clinical and related wastes - Health Canada pathogen safety data sheets (PSDS) - Laboratory biosafety manual (WHO) - Australian dangerous goods transport code - Guidelines for the Transport, Storage and Disposal of GMOs (Cth) | - Health & Safety: Risk management requirements - Health & Safety: Personal protective equipment requirements - Health & Safety: Workplace inspection requirements - Containment Facility Internal Certification Policy (MPF1195) - Containment Facility Internal Certification Procedure (MPF1151) - Infectious Agent Project Approval Policy (MPF1246) - Infectious Agent Project Approval Procedure (MPF1153) - Infectious Agent Reporting Policy (MPF1250) - Infectious Agent Reporting Procedure (MPF1161) - Health & Safety: Waste management requirements - Health & Safety: Spill management requirements | - Gene Technology and Biosafety Committee (GTBC) - Office of Research Ethics and Integrity subject matter expert(s) – gene technology, biosafety and biosecurity - Office of Research Ethics and Integrity – resources University website - Restricted access to authorised personnel - Risk assessments - Local area standard operating procedures - Biosafety training - Laboratory safety training - Controlled shipping and movement of infectious substances, diagnostic specimens and genetically modified organisms - Engineering controls such as laminar flow cupboards - Scheduled workplace inspections for laboratories - Local area training - Personnel protective equipment - Employee health monitoring - Personal protective equipment - Hazardous waste removal procedures and processes | Health and safety: - Eliminate hazards - Reduce risks Other: - Integrate with other processes - Reduce environmental impact | Rare | Moderate | Low |
| - Clients, Customers, Volunteers, Participants and Public | - Unfamiliar with University health and safety procedures - Activities that adversely impact on the University - Employee or student organised events - authorised events - unauthorized event - spontaneous events or gatherings | Unlikely | Moderate | Medium | - Occupational Health and Safety Act 2004 (Vic) | - The essential guide to work health and safety for volunteers (Cth) - Volunteer health and safety: A handbook for community service organisations (Vic) | - Property Policy (MPF1115) - Health & Safety: Risk management requirements - Vice Chancellor Regulation – Protest Rules | - Restricted access to University buildings and property - Security systems and support - Local University policies and procedures - Local visitor inductions and checklists - Visitor information - Signage - Risk assessments | Health and safety: - Eliminate hazards - Reduce risks Other: - Integrate with other processes - Improve stakeholder engagement | Rare | Moderate | Low |
| - Confined spaces & poorly ventilated workplaces | Critical risk: - Confined Spaces Operational risks: - Inadequate environmental monitoring - Inadequate access restrictions - Inadequate risk assessment of confined space - Inadequate identification of confined space | Possible | Severe | Extreme | - Occupational Health and Safety Act 2004 (Vic) - Occupational Health and Safety Regulations 2017 (Vic) Part 3.4 Confined Spaces | - AS 2865 Confined spaces - Compliance code. Confined spaces (Vic) - Exposure standards and atmospheric monitoring (Vic) - Fire and explosion risks at wineries (Vic) | - Health & Safety: Confined spaces requirements - Health & Safety: Risk management requirements - Health & Safety: Signage requirements - Health and Safety: Chemical Management Guidelines - Health and Safety: Cyclic Events Review Schedule Checklist - Safety Bulletin: Calibration Requirements for Health and Safety Monitoring Equipment | - Restricted access - Safety signage - University design standards - Confined spaces register - Confined space risk assessments - Confined space entry permit system - Confined space entry training - Confined space emergency procedures - Safe work method statements - Confined spaces authorising officers - Inspections to confirm confined space risk controls | Health and safety: - Eliminate hazards - Reduce risks Other: - Integrate with other processes - Improve availability of plant, equipment and services | Rare | Major | Medium |
| - Cooling Towers | - Legionella bacteria in cooling tower system - Access to roofs - Access to plant - Use of chemicals - Working at heights | Possible | Major | High | - Occupational Health and Safety Act 2004 (Vic) - Building Act 1993 (Vic) - Building Regulations 2018 (Vic) - Public Health and Wellbeing Act 2008 (Vic) - Public Health and Wellbeing Regulations 2019 (Vic) - Building (Legionella Risk Management) Regulations 2001 (Vic) - Health (Legionella) Regulations 2001 (Vic) | - AS/NZS 3666: (Series) Air-handling and water systems of buildings - Microbial control - Operation and maintenance - Guide to developing risk management plans for cooling tower systems (Vic) - Victorian Government Legionella Website Department of Health (Vic) - Cooling towers and recycled water (Vic) | - Health & Safety: Cooling tower risk requirements - Health & Safety: Risk management requirements | - Cooling tower risk assessments and plans - Cooling tower system registration - Scheduled maintenance and management of cooling towers as per the risk management plans - Cooling tower audit - Restricted access to authorised personnel | Health and safety: - Eliminate hazards - Reduce risks - Improve stakeholder wellbeing Other: - Reduce environmental impact | Rare | Moderate | Medium |
| - Emergency and Critical Incident | - Uncontrolled emergency incident leading to adverse outcomes: - loss of life - injury or illness - property damage - continued unsafe environment - Loss of communication - Failure of emergency procedures - Failure of critical incident activation - Uncontrolled critical incident leading to adverse outcomes: - human life, safety and wellbeing - animal life, safety and wellbeing - environmental protection - the protection of property interests | Unlikely | Severe | High | - Occupational Health and Safety Act 2004 (Vic) | - Building Code of Australia - AS 1603 (series) Automatic fire detection and alarm systems - AS 1670 (series) Fire detection, warning, control and intercom systems - AS/NZS 1841 (series) Portable fire extinguishers - AS/NZS ISO 31000 Risk management – Principles and guidelines - AS 3745 Emergency control organisation and procedures for buildings, structures and workplaces - AS/NZS 5050 Business continuity – Managing disruption-related risk - First aid Compliance Code (Vic) | - Health & Safety: Emergency preparedness and response requirements - Health & Safety: First aid requirements - Health & Safety: Risk management requirements - Health & Safety: Incident, injury and hazard reporting and investigation requirements - Risk management policy (MPF1194) - Enterprise risk management system (ERMS) incident and hazard reporting - Critical incident management framework | - Scheduled building evacuations for all occupants - Campus/building specific Emergency management plans - Building essential services and ongoing maintenance of those services - SafeZone - Duress alarms - Secure and restricted access - Task/activity specific emergency procedures and plans - Emergency response procedures (Flip chart) - Employee training and instruction: - induction - evacuation drills - fire extinguisher training - suspicious package training - visitor cards - first aid - Chief and Deputy Chief Warden - building Warden - breathing apparatus - aggressive behaviours/difficult customers training - Security systems and support - Risk assessments | Health and safety: - Eliminate hazards - Reduce risks Other: - Integrate with other processes - Reduce environmental impact - Improve business resilience | Rare | Moderate | Low |
| - Firearms & Weapons | Critical risk: Firearms Operational factors: - Other weapons - Accidental shooting - Theft and misuse - Violence and assault - Prop weapons – theft and criminal activity (eg theatre) | Unlikely | Severe | High | - Occupational Health and Safety Act 2004 (Vic) - Firearms Act 1996 (Vic) - Firearms Regulations 2018 (Vic) - Control of Weapons Act 1990 (Vic) - Control of Weapons Regulations 2021 (Vic) | - National firearms safety code (Cth) - Storage and safekeeping requirements for firearms (Vic) - Firearms Safety Code (Vic) - Firearm Safety Foundation (Vic) - Control of Weapons: List of prohibited weapons. Licensing & Regulation Division (Victoria Police) | - Health & Safety: Risk management requirements - Health & Safety: Personal protective equipment requirements - Property Policy (MPF1115) | - Licensed and trained personnel with access to firearms - Licenses - Risk assessments - Storage location registration - Secure firearm or prop weapon storage - Secured ammunition storage - Local standard operating instructions - Local firearm policies and procedures - Local regulated and prescribed weapons procedures - Personal protective equipment – hearing and eye protection - Routine cleaning and maintenance of firearms | Health and safety: - Eliminate hazards - Reduce risks Other: - Integrate with other processes - Education and training in safe use and storage | Rare | Major | Medium |
| - Hot Work | - Fire and/or explosion - Injury - Property damage - Total fire ban days - Faulty equipment - Inhalation/Steam - Small particle inhalation - Smoke, particle exposure - Contact burns - Smoking ceremonies | Unlikely | Major | High | - Occupational Health and Safety Act 2004 (Vic) - Country Fire Authority Act 1958 (Vic) - Forests (Fire Protection) Regulations 2014 (Vic) | - AS/NZS 1338.1 Filters for eye protectors - Filters for protection against radiation generated in welding and allied operations - AS/NZS 1554 (series) Structural steel welding - AS 1674 (series) Safety In welding and allied processes - Australian Welding Institute website | - Health & Safety: Risk management requirements - Health & Safety: Hot work requirements | - Hot work risk assessments - Hot work permit system - Safe work method statements - Trained operators - Hot work authorising officers - Hot Work emergency plans - Scheduled maintenance for hot work plant and equipment - Standard Operating Procedure: Smoking ceremony | Health and safety: - Eliminate hazards - Reduce risks Other: - Improve community engagement - Integrate with other processes - Improve availability of plant, equipment and infrastructure | Rare | Moderate | Low |
| - Infectious Diseases | - Working in health care facilities, services and environment - Working in childcare facilities - First aid activities - Infectious wastes - Working with animals - Pandemic and endemic infectious diseases | Unlikely | Major | High | - Occupational Health and Safety Act 2004 (Vic) - Health Act 1958 (Vic) - Health (Infectious Diseases) Regulations 2021 (Vic) - Health Records Act 2001 (Vic) - Education and Care Services National Law Act 2010 (Vic) | - Immunisation guidelines for health care workers (Vic) - Immunisation website Department of Health (Vic) - Blue Book – Guidelines for the control of infectious diseases (Vic) - Australian Immunisation Handbook (Cth) - Infection control guidelines for the prevention of transmission of infectious diseases in the health care setting (Vic) - National hand hygiene initiative (Australian Commission on Safety and Quality in health Care) - COVID-19 (Coronavirus disease 2019) website Department of Health (Vic) - Managing COVID-19 risks in workplaces WorkSafe website (Vic) | - Health & Safety: Health monitoring requirements - Health & Safety: Risk management requirements - Health & Safety: Waste management requirements - Health & Safety: Spill management requirements - Infectious Disease Leave | - Risk assessments - Local standard operating procedures - Employee health monitoring - Occupational Health Services - Immunisation programs - Standard precautions - Additional precautions (for suspected/confirmed infectious disease) - Personal protective equipment - Employee/student training in standard precautions - First aid training - Hazardous waste removal procedures and processes - COVID Safe campus training - Infection control - Handwashing facilities and sanitizer - Cleaning and sanitising | Health and safety: - Eliminate hazards - Reduce risks - Improve community wellbeing and health Other: - Improve community engagement | Rare | Moderate | Low |
| - Radiation - Ionising - Non-ionising | Critical risk: - Higher risk and highly regulated radiation sources/emitting apparatus Risk factors: - Unintentional exposure to: - open sources - emitting apparatus - Ionising radiation storage and transport: - Loss of source - Incorrect storage - Loss of control (e.g., leakage) - Ionising radiation wastes - Deterministic and stochastic injuries/ill health - Reproductive health effects - Radiation sickness - Adverse effects - Cancer - Excessive exposure to non-ionising radiation - Hazards associated with non-ionising radiation including: - UV - plasma - lasers - microwaves - infrared - magnetic resonance - high frequency - low frequency - Laser pointers (>1 mW) prohibited weapon - Burns - Electromatic interference | Unlikely | Moderate | Medium | - Occupational Health and Safety Act 2004 (Vic) - Radiation Act 2005 (Vic) - Radiation Regulations 2017 (Vic) - Occupational Health and Safety Regulations 2017 (Vic) Part 3.5 Plant - Telecommunications Act 1997 (Cth) - Control of Weapons Regulations 2011 (Vic) | - Australian dangerous goods transport code Edition 7 - AS/NZS 1337 (series) Eye and face protection - AS/NZS 1338.2 Filters for eye protectors - Filters for protection against ultraviolet radiation - AS 2243.4 Safety in laboratories – Ionizing radiations - AS 2243.5 Safety in laboratories – non-ionising radiations – Electromagnetic, sound and ultrasound - AS 2397 Safe Use of lasers in the building and construction industry - AS/NZS IEC 60825.1 Safety of laser products – Equipment classification and requirements - AS/NZS IEC 60825.1 Safety of laser products – Equipment classification and requirements - AS/NZS Safety of laser products – A user’s Guide - National directory for radiation protection (Cth) - Code of Practice and safety guide for portable density/moisture gauges containing radioactive sources (Cth) - Code of practice for the safe transport of radioactive material (Cth) - Code of practice for the exposure of humans to ionizing radiation for research purposes (Cth) - Code of practice and safety guide for radiation protection and radioactive waste management in mining and mineral processing (Cth) - Code of practice and safety guide for radiation protection in dentistry (Cth) - Code of practice for the security of radioactive sources (Cth) - Code of practice and safety guide for safe use of fixed radiation gauges (Cth) - Code of practice for radiation protection in the medical applications of ionizing radiation (Cth) - Code of Practice and safety guide for radiation protection in veterinary medicine (Cth) - Code of practice for radiation protection in the application of ionizing radiation by chiropractors (Cth) - Radiation protection standard for occupational exposure to ultraviolet radiation (Cth) - Radiation protection standard for maximum exposure levels to radiofrequency fields – 3kHz to 300GHz (Cth) - Recommendations for Limiting exposure to ionizing radiation and national standard for limiting occupational exposure to ionizing radiation (Cth) - Recommendations for the Discharge of patients undergoing treatment with radioactive substances (Cth) - Recommendations for intervention in emergency situations involving radiation exposure (Cth) - Safety guide for radiation protection in diagnostic and interventional radiology (Cth) - Safety guide for radiation protection in nuclear medicine (Cth) - Safety guide for radiation protection in radiotherapy (Cth) - Safety guide for the management of naturally occurring radioactive material (NORM) (Cth) - Safety guide for the predisposal management of radioactive waste (Cth) - Safety guide for the safe transport of radioactive material (Cth) | - University of Melbourne Radiation Management Plan - Health & Safety: Ionising radiation requirements - Health & Safety: Risk management requirements - Health & Safety: Waste management requirements | - University of Melbourne Management License - Local Radiation Management Plan - Register Ionising Radiation Sources - University Radiation Safety Officer - External radiation safety consultant - Local Radiation Safety Officers - Local Laser Safety Officers - Secured radiation storage area(s) - Personal monitoring (badges) - Risk assessments - Standard operating procedures - Local area induction and training - Ionising radiation training - Use licences - Security Plan - Certificate of Compliance - Contamination environmental monitoring - Hazardous waste removal procedures and processes - Personal protective equipment - Laboratory certification - Training - Licensing and permits - Procurement controls - Shielding - Elimination - Exposure minimisation - Security - Procedures - Education - Induction - Emergency response - Authority to use - Interlocks & guarding - HHAQ - Precautionary health monitoring for Class 3B and 4 Laser | Health and safety: - Eliminate hazards - Reduce risks Other: - Improve availability of plant, equipment, infrastructure and services - Integrate with other processes - Reduce waste - Improve animal welfare and health - Improve community wellbeing and health | Rare | Minor | Low |
| - Laboratory Operations | - Hazards associated with the work/research undertaken in the laboratory: - chemical - biological (and other pathogens) - ionising radiation - non-ionising radiation - mechanical aspects - electrical aspects - biomechanical - hazardous manual handling - hazardous atmosphere - electrical - Hazards associated with plant and equipment, including” - centrifuge - autoclave - microscope - pipette – heat generating - fume hoods - biological cabinets - refrigerators and freezers - cage washer - rotary evaporator - Generation of wastes: - chemical - biological (and other pathogens) - radiological - infectious disease | Unlikely | Major | High | - Occupational Health and Safety Act 2004 (Vic) | - AS 1319 Safety signs for the occupational environment - AS 2982 Laboratory design and construction - AS 4775 Emergency eyewash and shower equipment - AS 2243 (series) Safety in laboratories | - Health & Safety: Laboratory requirements - Health & Safety: Personal protective equipment requirements - Health & Safety: Risk management requirements - Health & Safety: Workplace inspection requirements - Health & Safety: Signage requirements - Health & Safety: Waste management requirements - Health & Safety: Spill management requirements | - Laboratory risk assessments - Local standard operating procedures - Access restrictions - Area (laboratory) inductions - Scheduled laboratory inspections - Personal protective equipment - Refer to specific hazard category for required controls - Hazardous waste removal procedures and processes | Health and safety: - Eliminate hazards - Reduce risks - Improve community wellbeing Other: - Improve availability of plant, equipment and infrastructure - Integrate with other processes - Improve business resilience | Rare | Moderate | Low |
| - Noise Sound Pressure | - Noise greater than the exposure standards - Hearing loss - Distracting or nuisance noise - Noise impact on surrounding work areas - Duration of noise - Noise/Loud exposure in a short time - Distracting or nuisance noise | Possible | Moderate | Medium | - Occupational Health and Safety Act 2004 (Vic) - Occupational Health and Safety Regulations 2017 (Vic) Part 3.2 Noise | - AS 1055 (series) Acoustics – Description and measurement of environmental noise - AS/NZS 1269 (series) Occupational noise management - AS/NZS 2107 Acoustics – Recommended design sound levels and reverberation times for building interiors - AS 2822 Acoustics – Methods of assessing and producing speech privacy and speech intelligibility - Compliance code. Noise - Noise problems at work – Guide for assessing and fixing (Vic) - Noise – Buy quiet guidelines (Vic) - Model code of practice: Managing noise and preventing hearing loss at work - OfficeWise A Guide to health and safety in offices (Vic) - Sound practice – Health handbook for orchestra/musicians (University of Sydney) | - Health & Safety: Personal protective equipment requirements - Health & Safety: Non-ionising radiation requirements - Health & Safety: Risk management requirements - Health & Safety: Signage requirements - Health and Safety: Purchasing requirements | - Purchasing less noisy plant and equipment - UoM design standards - Acoustic engineering controls - Acoustic damping surfaces - Pre-purchase assessment - Noise assessments - Audiometric screening - Personal protective equipment - Hearing protection training - Signage - Audio private spaces meeting rooms and booths for quite work - Occupational health monitoring guidance | Health and safety: - Eliminate hazards - Reduce risks Other: - Integrate with other processes - Improve community engagement | Unlikely | Minor | Low |
| - Plant and Equipment | Critical risks: - Mobile plant - Powered machinery - Pressure and stored energy Operational risks: - Lack of operator competency or training - Unassessed plant and equipment - Inappropriate or absent guarding - Unrestricted access - Poor management of registrable plant - Poorly maintained plant - Plant maintenance and other non- routine activities: - stored energy - entrapment - malfunction - Pressure vessels - Poor ergonomic design - unintuitive operational control - difficult to operate - noisy - awkward postures when operating - high force exertion - Inappropriately used - Inappropriately located - dark area - difficult to see - impacting adversely on surrounding activities - unstable footing - Falling objects (including unpiloted craft e.g drones) - Dust - Sharps | Unlikely | Major | High | - Occupational Health and Safety Act 2004 (Vic) - Occupational Health and Safety Regulations 2017 (Vic) Part 3.5 Plant - Occupational Health and Safety Regulations 2017 (Vic) Part 3.6 High Risk Work - Equipment (Public Safety) Regulations 2017 (Vic) - Electrical Safety Act 1998 (Vic) - Electrical Safety (General) Regulations 2019 (Vic) | - AS 1200 Pressure equipment - AS 1353 (series) Flat synthetic-webbing slings - AS 1380 (series) Fibre-rope slings - AS 1418 (series) Cranes, Hoists and winches - AS 1438 (series) Wire-coil flat slings - AS 1473 (series) Guarding and safe use of woodworking machinery - AS/NZS 1576 (series) Scaffolding - AS 1893 Code of Practice for the guarding and safe use of metal and paper cutting guillotines - AS 2243.6 Safety in laboratories – Mechanical aspects - AS 2971: Serially produced pressure vessels - AS 3892 Pressure equipment – Installation - AS 4024 (series) Safety of Machinery - AS 4497 (series) Round slings—Synthetic fibre - Model code of practice. Managing risks of plant in the workplace (Cth) - Plant compliance code (Vic) - Machinery and equipment safety – an introduction (Vic) - Clearing sales – Improving safety in used agricultural machinery and equipment sales website WorkSafe (Vic) - Guidance material for the safe design, manufacture, import and supply of plant (Cth) - Flying drones/remotely piloted aircraft in Australia. Civil Aviation Safety Authority website | - Health & Safety: Regulated plant requirements - Health & Safety: Personal protective equipment requirements - Health & Safety: Risk management requirements - Health & Safety: Lock out, tagging and isolation requirements - Health & Safety: Unsafe plant and equipment requirements - Health & Safety: Waste management requirements | - Plant risk assessments - Guarding and engineering controls - Emergency stops - Training and supervision - Restricted access - Scheduled maintenance - Standard operating procedures - Plant registers - Pre-purchase assessment – plant and equipment - Personal protective equipment - Hazardous waste removal procedures and processes - Removal of decommissioned plant - Plant Safety training - Workplace inspections | Health and safety: - Eliminate hazards - Reduce risks - Improve community wellbeing Other: - Integrate with other processes - Improve availability of plant, equipment and infrastructure | Rare | Minor | Low |
| - Procurement of Goods and Services | - Introducing new or uncontrolled hazards into the workplace: - personal protective equipment - office furniture and equipment - chemicals and substances - radiation sources - waste streams - plant and equipment (including electrical) | Possible | Minor | Medium | - Occupational Health and Safety Act 2004 (Vic) |  | - Health & Safety: Risk management requirements - Health & Safety: Purchasing requirements | - Purchasing delegations and controls - Pre-purchasing assessments for: - personal protective equipment - office furniture and equipment - chemicals and substances - radiation sources - plant and equipment (including electrical) - Preapproved University provider(s) - Hazardous waste procedures and processes | Health and safety: - Eliminate hazards - Reduce risks Other: - Integrate with other processes - Reduce environmental impact - Improve community wellbeing | Rare | Minor | Low |
| - High job demands | - Sustained or repeated high physical, mental or emotional effort - Long work hours - High workloads - Long periods of attention monitoring infrequent events - Emotional effort: - responding to distressing situations - to display emotions not aligned with employee’s - Exposure to traumatic events or work-related violence - Shift work with higher risk of fatigue - Frequent unpleasant or hazardous conditions - Demanding work with uncomfortable PPE or equipment - Clients with challenging behaviours | Likely | Moderate | High | - Occupational Health and Safety Act 2004 (Vic) | - WorkWell Toolkit: High and low job demands (Vic) - Work-related fatigue WorkSafe website (Vic) - ISO45003 Psychological health and safety at work | - Health and Safety Policy (MPF1205) - Recruitment and Appointment Policy (MPF1152) - Recruitment and Appointment Procedure (MPF1159) - Flexible Work Arrangement Policy (MPF 1374) - UoM Enterprise Agreement 2024: - 1.41 Consultation on Changes to Regular Roster or Ordinary Hours of Work - 1.50 Right to Disconnect Outside Normal Working Hours - 2.11 Academic Workload and Hours of Work - 3.15 PASO Workload & Hours of Work - 4.3 Managing Casual Workload - Health & Safety: Risk management requirements | - Work design & management - Workforce planning before recruitment (KB0024299) - Position Descriptions and Role Classification (KB0024300) - Diversity Awareness and Inclusive - Recruitment Practices: A Guide to Preventing Discrimination in Recruitment (UoM) - Assistive plant, equipment and technology - Rostering to match business cycle demands - Proportional task distribution within teams - Performance Development Framework - Employee Supervision - Continuing & Fixed Term employment – Position descriptions - Casual employment – Main duty description - Casual employee – induction checklist - Independent Contractor – activity category, service description & contract - Workload Planning Process - Workload Review Process - Employee Assistance Program - Counselling & Psychological Services | Health and safety: - Eliminate hazards - Reduce risks - Improve worker wellbeing Other: - Improve productivity - Integrate with other processes | Unlikely | Minor | Low |
| - Traumatic exposures | Critical risk: - Sustained or repeated exposure to traumatic content or events Operational risks: - Fear of harm to self or others - Natural disasters - Seriously injured or deceased persons - Accounts of traumatic events, abuse or neglect - Supporting victims - Investigating traumatic events, abuse or neglect - Traumatic research content/material - Traumatic course content | Rare | Severe | Extreme | - Occupational Health and Safety Act 2004 (Vic) | - Work-related stress: violent or traumatic events WorkSafe website (Vic) - Traumatic events or materials. SWA website (Cth) - ISO45003 Psychological health and safety at work | - Recruitment and Appointment Policy (MPF1152) - Recruitment and Appointment Procedure (MPF1159) - Responding to Student Traumatic Event Policy (MPF1357) - Student Fitness to Study Policy (MPF1349) - Health & Safety: Risk Management Requirements - Health & Safety: Responsibilities and Legal Requirements - Health and Safety Responsibilities publication (supervision) | - Assistive filtering, screening and flagging technologies - Visual/audio privacy for dealing with traumatic content - Employee Supervision - Preventative Wellbeing Support Services - Clinical supervision - Peer support - Post-incident support - Performance and Development Framework (PASO) - Performance and Development Framework (Academic) - Casual employee induction checklist - Recruitment - Preparing a position description- KB0024300 - Continuing & FT - Position descriptions - Casual - Main duty description - Independent Contractor – activity category, service description & contract - Task rotation - Appropriate Workplace Behavior training - LGBTI+ training - Respect at Melbourne Training - Employee Assistance Program - Counselling & Psychological Services | Health and safety: - Eliminate hazards - Reduce risks - Improve worker wellbeing Other: - Integrate with other processes - Improve community wellbeing | Rare | Moderate | Low |
| - Harmful behaviours | Critical risk: Sustained or repeated harmful behaviours Operational risk: Interaction between employees, students, contactors, customers, clients, patrons and members of the public that may result in: - Bullying - Sexual harassment - Gendered violence - Racism | Possible | Severe | Extreme | - Occupational Health and Safety Act 2004 (Vic) - Equal Opportunity Act 2010 (Vic) - Sex Discrimination Act 1984 (Cth) - Fair Work Act 2009 (Cth) - Crimes Act 1958 (Vic) | - Workplace bullying: A guide for employers (Vic) - Guide for preventing and responding to workplace bullying (Cth) - Work-related gendered violence including sexual harassment (Vic) - Sexual and gender-based harassment. SafeWork Australia website (Cth) - Guidance note: Wellbeing and safety. TEQSA (Cth) - Guidelines for University Responses to Sexual Assault and Sexual Harassment. TEQSA (Cth) - Psychosocial health and safety and bullying in Australian workplaces 6th Edition (Cth) | - Appropriate workplace behaviour (MPF1328) - Alcohol Policy (MPF1267) - Student conduct policy (MPF1324) - Sexual Misconduct Prevention and Response Policy (MPF1359) - Child Safety Policy (MPF1337) - Student Complaints and Grievances Policy (MPF1066) - Property Policy (Security) (MPF1115) - Health & Safety: Risk Management Requirements - Health & Safety: Psychosocial - Health & Safety: Responsibilities and Legal Requirements - Health and Safety Responsibilities publication (supervision) - Murmuk Djerring (UoM Indigenous Strategy) | - Recruitment referee check - Employee supervision - Student supervision - Independent contractor supervision - Honorary supervision - Workplace behavior reporting line - Speak safety anonymous reporting line - Complaint procedures - Safer community program - SafeZone - University security - CCTV - Appropriate Workplace Behavior training - Respect at Melbourne Training - LGBTI+ training - Local standard operating procedures for refusal of service - Employee Assistance Program - Counselling & Psychological Services - Support for participants during complaint and investigation processes | Health and safety: - Eliminate hazards - Reduce risks - Improve worker wellbeing Other: - Improve environmental outcomes - Integrate with other processes - Reduce waste - Reduce environmental impact - Improve stakeholder experience - Improve service experience | Rare | Moderate | Low |
| - Aggression or violence | Critical risk: - Violent acts Operational risks: - Interaction between employees, students, contactors, customers, clients, patrons and members of the public that may result in: - Aggression - Violence - Gendered violence - Handling cash, drugs or valuables - Working in isolation or alone - Working in the community - Working at night - Supporting people with potentially unpredictable behavior - Security work - Protests - Social media monitoring - Accommodation Services - Tenancies and Venue Hirer - Working with visitors | Possible | Severe | Exgtreme | - Occupational Health and Safety Act 2004 (Vic) - Crimes Act 1958 (Vic) | - Work-related violence: A guide for employers (Vic) - Preventing workplace violence and aggression guide (Cth) - Guidelines for University Responses to Sexual Assault and Sexual Harassment (Cth) | - Appropriate Workplace Behaviour Policy (MPF1328) - Student Conduct Policy (MPF1324) - Child Safety Policy (MPF1337) - Student Complaints and Grievances Policy (MPF1066) - Property Policy (Security) (MPF1115) - Alcohol Policy (MPF 1267) - Health & Safety: Risk Management Requirements - Health & Safety: Responsibilities and Legal Requirements - Health and Safety Responsibilities publication (supervision) - Standard Acquisition of Service Agreements - Vice Chancellor Regulation – Protest Rules - Campus design - chalking and graffiti guidelines (KB0015732) - Emergency response procedures (Flip chart) | - Employee supervision - Student supervision - Independent Contractor supervision - Honorary supervision - Safety in design consider occupational violence in service contact points - Security guards - Security escort - CCTV - Safer Community Program - Continuing & Fixed Term - Position descriptions - Casual - Main duty description - Independent Contractor – Activity category, service description & contract - Local standard operating procedures for refusal of service - SafeZone - Emergency phones - Duress Alarms - Workplace behavior reporting line - Speak safety anonymous reporting line - Complaint procedures - Safer community program - Emergency response procedures: - Evacuation - Shelter in place - Threat - Bomb - Emergency warden structure - University security - Appropriate Workplace Behavior training - Respect at Melbourne Training - LGBTI+ training - Security training: - Security & personal safety - Escape – hide – tell - Duress alarm - Handling upset and angry customers training - EAP Manager Assist program - Emergency training - Employee Assistance Program - Counselling & Psychological Services - Risk assessment - Local standard operating procedures | Health and safety: - Eliminate hazards - Reduce risks - Improve worker wellbeing Other: - Improve productivity - Improve security | Rare | Major | Medium |
| - Job design and recognition | Work with the following characteristics: - Low job control - Low job clarity - Low job demands - Low reward or recognition | Unlikely | Moderate | Medium | - Occupational Health and Safety Act 2004 (Vic) | - Work Well Tool Kit (Vic): - low job control - poor role clarity - high and low job demands - low recognition and reward - Work-related stress (WorkSafe Victoria website): - low job control - low role clarity - high and low job demands - low recognition and reward - Model Code of Practice: Managing psychosocial hazards at work (Cth) | - Health and Safety Policy (MPF1205) - Recruitment and Appointment Policy (MPF1152) - Recruitment and Appointment Procedure (MPF1159) - Flexible Work Arrangement Policy (MPF 1374) - Health & Safety: Risk management requirements - UoM Enterprise Agreement 2024: - 1.41 Consultation on Changes to Regular Roster or Ordinary Hours of Work - 1.50 Right to Disconnect Outside Normal Working Hours - 2.11 Academic Workload and Hours of Work - 3.15 PASO Workload & Hours of Work - 4.3 Managing Casual Workload | - Continuing & Fixed Term - Position descriptions - Casual - Main duty description - IC – Activity category, service description & contract - Workforce planning before recruitment (KB0024299) - Position Descriptions and Role Classification (KB0024300) - Diversity Awareness and Inclusive Recruitment Practices: A Guide to Preventing Discrimination in Recruitment (UoM) - Performance Development Framework - Employee Supervision - Organisational charts - Continuing & Fixed Term employment - Position descriptions - Casual employment - Main duty description - Independent Contractor – activity category, service description & contract - Workload Planning Process - Academic Careers @ Melbourne - University grants, awards and recognition: - Office of Provost - CSHE - Celebrating academic careers - Supervisor training: - Leadership Essentials: Enabling High Performance - Graduate Researcher Supervisors - EAP Manager Assist program | Health and safety: - Eliminate hazards - Reduce risks - Improve worker wellbeing Other: - Integrate with other processes - Improve productivity | Rare | Minor | Low |
| - Workplace relationships and justice | - Poor workplace relationships - task conflict - relationship conflict - Poor support - Poor organisational justice. Inadequate: - procedural fairness - information fairness - interpersonal fairness | Possible | Major | High | - Occupational Health and Safety Act 2004 (Vic) | - Work Well Tool Kit (Vic): - poor workplace relationships - poor organisational justice - Work related stress (WorkSafe Victoria website): - poor workplace relationships - poor organisational justice - Model Code of Practice: Managing psychosocial hazards at work (Cth) | - Health and Safety Policy (MPF1205) - Recruitment and Appointment Policy (MPF1152) - Recruitment and Appointment Procedure (MPF1159) - Health & Safety: Risk management requirements - UoM Enterprise Agreement 2024: - 1.39 Management of Misconduct - 1.42 Grievance and Dispute Settlement Procedure | - Recruitment and selection - Performance Development Framework - Appropriate workplace behaviour training - Misconduct investigation and review processes - Academic Confirmation and promotion - Supervisor training: - Leadership Essentials: Enabling High Performance - Graduate Researcher Supervisors - EAP Manager Assist program | Health and safety: - Eliminate hazards - Reduce risks - Improve worker wellbeing Other: - Integrate with other processes - Improve productivity | Unlikely | Minor | Low |
| - Workplace change | - Poor organisational change management The following changes may introduce psychosocial health risks: - individual’s role - shift/roster - new technology - new policies & procedures - team structure - mergers - acquisitions - restructures | Possible | Major | High | - Occupational Health and Safety Act 2004 (Vic) | - Work Well Tool Kit (Vic): - poor organisational change management - Work related stress (WorkSafe Victoria website): - poor organisational change management - Model Code of Practice: Managing psychosocial hazards at work (Cth) | - Health and Safety Policy (MPF1205) - Flexible Work Policy (MPF 1374) - Melbourne Policy Framework (MPF1308) - Health & Safety: Risk management requirements - UoM Enterprise Agreement 2024: - 1.40 Consultation on Workplace Change - 1.41 Consultation on Changes to Regular Roster or Ordinary Hours of Work | - Proposed change plan consultation processes - Risk assessment - Change and communication plan - UoM Policy Framework – consultation processes - Post change monitoring and review | Health and safety: - Eliminate hazards - Reduce risks - Improve worker wellbeing Other: - Integrate with other processes - Improve productivity - Successful change | Unlikely | Minor | Low |
| - Remote & isolated work | - Absence of availability of others for assistance and support: - during an activity - for first aid and emergencies - Increased severity/consequence from an incident - Reduction in emergency assistance and support - Absence of or distant supervision | Possible | Major | High | - Occupational Health and Safety Act 2004 (Vic) | - WorkWell Tool Kit (Vic): - Remote or isolated work - Work related stress (WorkSafe Victoria website): - Remote and isolated work - Working alone website WorkSafe (Vic) - Working alone information sheet. How to identify and control risks when working alone (Vic) - Code of practice. Working hours (WA) - Guidance notes - Working alone (WA) - Model Code of Practice: Managing psychosocial hazards at work (Cth) | - Health & Safety: Working alone requirements - Health & Safety: Risk management requirements - Health & Safety: Signage requirements | - Risk assessments - Local standard operating procedures - Restricted access to university buildings and property - After hours sign in books - 24-hour security support - Working alone guidance - Duress alarms - SafeZone - Security monitoring/cameras - Employee Assistance Program - Counselling & Psychological Services | Health and safety: - Eliminate hazards - Reduce risks - Improve worker wellbeing Other: - Integrate with other processes - Reduce emergency response times | Unlikely | Moderate | Medium |
| - Smoking, Vaping and Tobacco use | - Passive smoking - Fires | Unlikely | Minor | Low | - Occupational Health and Safety Act 2004 (Vic) - Tobacco Act 1987 (Vic) | - Smoke-free areas website Department of Health (Vic) - Smoking website WorkSafe (Vic) - National Hazard Exposure Worker Surveillance: Exposure to dust, gases, vapours, smoke and fumes and the provision of controls for these airborne hazards in Australian workplaces (Cth) | - Smoke-free and tobacco-free campus policy (MPF1260) - Health & Safety: Risk management requirements | - Smoke-free campuses - Smoke-free campus signage - No smoking in vehicles - Conditions of employment - Provision of designated smoking zones at rural campuses | Health and safety: - Eliminate hazards - Reduce risks - Improve community wellbeing Other: - Integrate with other processes - Reduce environmental impact | Rare | Minor | Low |
| - Workplace Design and Construction | - Hazards/Risks associated with construction works: - electrical - plant - fall from heights - chemicals - hazardous manual handling - noise - changing environment - unauthorised access - dusts/irritants - Hazardous materials removal - Impact on campus traffic management plan - Inadequate consideration of hazards/risks during design process - Poor application of ergonomic and universal design principles - Inadequate communication to community affected by demolition/ construction | Unlikely | Moderate | Medium | - Occupational Health and Safety Act 2004 (Vic) - Occupational Health and Safety Regulations 2017 (Vic) Part 3.6 High Risk Work - Occupational Health and Safety Regulations 2017 (Vic) Part 5.1 Construction - Disability Discrimination Act 1992 (Cth) | - AS 1345 Identification of the contents of pipes, conduits and ducts - AS/NZS 1576 (series) Scaffolding - AS 1657 Fixed platforms, walkways, stairways and ladders – Design, construction and installation - AS 2436 Guide to noise control on construction, maintenance and demolition sites - AS/NZS 3017 Electrical Installations – Verification guideline - AS/NZS 3019 Electrical Installations – Periodic guidelines - National Construction Code (Cth) - Model code of practice; Safe design of structures - Handbook. Principles of good work design (Cth) - Disability Standards for Education 2005 (Cth) - Disability (Access to Premises — Buildings) Standards 2010 (Cth) | - University of Melbourne Design Standards Section 2: Occupational Health and Safety - Health & Safety: Risk management requirements - Health & Safety: Signage requirements - Health & Safety: Ergonomic requirements | - Design standards University website - Project managers - Project Management - Risk assessments - Restricted/authorised access: - temporary fencing - signage - Site and contractor induction - Preferred contractors - Hazardous waste removal procedures and processes - Safety in design processes - Way finding signage - Air quality/environmental monitoring | Health and safety: - Eliminate hazards - Reduce risks - Improve community wellbeing Other: - Integrate with other processes - Improve productivity - Improve accessibility | Rare | Moderate | Low |
| - Workplace Environment and Facilities | - Poor floor plan design, layout and circulation space - Poor design of workstation and furniture - Poor storage design and capacity - Environmental characteristics: - thermal discomfort - nuisance noise - inadequate lighting - glare - Poorly maintained equipment, buildings and structures - Waste recycling and disposing - Access to facilities including: - toilets - washing facilities - drinking water - dining facilities - Poor housekeeping: - impeded emergency equipment and exits - waste accumulation - slip, trip and fall hazards - Insufficient shared workstations - Inadequate pest control | Rare | Moderate | Low | - Occupational Health and Safety Act 2004 (Vic) - Occupational Health and Safety Regulations 2017 (Vic) - Disability Discrimination Act 1992 (Cth) | - AS 1428 Series - AS/NZS 1668 (series) The use of ventilation and air conditioning in buildings - AS 1680 (series) Interior lighting - AS/NZS 2107 Acoustics - Recommended design sound levels and reverberation times for building interiors - AS/NZ 2982: Laboratory design and construction - AS 3755: Acoustics - Measurement of airborne noise emitted by computer and business equipment - AS 3756: Acoustics - Measurement of high- frequency noise emitted by computer and business equipment - AS 3757: Acoustics - Declared noise emission values of computers and business equipment - AS/NZS 4438 Height Adjustable swivel chairs - AS/NZS 4442 Office desks, office workstations and tables intended to be used as office desks - Mechanical, dimensional and general requirements and test methods - AS 4775: Emergency eyewash and shower equipment - Disability Standards for Education 2005 (Cth) - Disability (Access to Premises — Buildings) Standards 2010 (Cth) - Guideline on the application of the Premises Standard (Cth) - OfficeWise A guide to health and safety in offices (Vic) - Compliance code. Workplace amenities and work environment (Vic) - Safe design (SafeWork Australia website) - National Construction Code (formerly Building Code of Australia (Cth) | - Recruitment and appointment policy (MPF1152) - Health & Safety: Housekeeping requirements - Health & Safety: Temperature extremes requirements - Health & Safety: Facilities and amenities requirements - Health & Safety: Risk management requirements - Health & Safety: Waste management requirements - Health & Safety: Hazardous manual handling requirements - Health & Safety: Ergonomic requirements - University of Melbourne Design Standards Section 2 Health & Safety | - Scheduled workplace inspections - Workstation ergonomic assessments and checklists (campus and home) - Preapproved University Furniture Providers - Provision of facilities: - toilets - washing facilities - eating and drinking facilities - Risk assessments - Office waste removal and recycling initiatives - Health and Safety Services ergonomic support - Employee onboarding processes - Local area induction - Hazardous waste removal procedures and processes - Equipment such as approved ladders, stepstools, anti-slip mats, handrails, anti- slip coatings cable conduits. - Workplace adjustment processes - Safety signage | Health and safety: - Eliminate hazards - Reduce risks - Improve worker wellbeing - Improve community wellbeing Other: - Integrate with other processes - Improve productivity - Improve accessibility | Rare | Minor | Low |
| - Working Outdoors | - Exposure to adverse weather conditions: - thermal (heat cold) - rain - ultraviolet light exposure - wind - Uncontrolled environment - Exposure to animals and wildlife | Rare | Moderate | Low | - Occupational Health and Safety Act 2004 (Vic) | - AS/NZS 1338.2: Filters for eye protectors-Filters for protection against ultraviolet radiation - AS/NZS 4399: Sun protective clothing - Evaluation and classification - AS/NZS 4501.2: Occupational protective clothing - General requirements - AS/NZS 1067.1: Eye and face protection - Sunglasses and fashion spectacles - Requirements - Radiation protection standard for occupational exposure to ultraviolet radiation (Cth) - Sun protection for construction and other outdoor workers (Vic) - Working in heat (Vic) | - Health & Safety: Risk management requirements - Health & Safety: Personal protective equipment requirements - Health and Safety: Thermal Comfort bulletin - Fieldwork Safety Guidelines - Health and Safety Bulletins (outdoor work-related) | - Risk assessments - Scheduled work at appropriate times, seasons and weather conditions - Local standard operating procedures - Personal protective equipment: - wet weather gear - long sleeved summer clothing - sunhats - sunglasses - Sunscreen - First aid equipment and training - Fieldwork guidelines - Fieldwork plan - Footwear and cold weather clothing - Appropriate equipment - Communication equipment - Equipment training | Health and safety: - Eliminate hazards - Reduce risks - Improve worker wellbeing Other: - Integrate with other processes | Rare | Minor | Low |
| - Animals | Critical risk: Working with large and/or infectious animals Risk factors: - Infectious animals - Animals escaping enclosures - Hazardous manual handling - Animal and infectious wastes - Domestic animals (pets, companion, emotional support and therapy animals) - Guide dogs - Assistance animals - Pests - Wildlife - Farm animals - Research animal - Animal bites - Animal dander - Allergies - Phobias - Protests | Possible | Severe | Extreme | - Occupational Health and Safety Act 2004 (Vic) | - Australian and New Zealand Council for the care of animals in research and teaching website - Alert preventing asthma in animal handlers (NIOSH) - Assistance animals and the Disability Discrimination Act 1992 (Australian Human Rights Commission website) | - Health & Safety: Risk management requirements - Health & Safety: Personal protective equipment requirements - Health & Safety: Waste management requirements - Health & Safety: Hazardous manual handling requirements - Animals on campus guidance - Animal Ethics OREI website - Occupational Hygiene guidelines | - Risk assessments - Local standard operating procedures - Immunisation (staff and students) - Animal immunisation - Access restrictions - Security - CCTV - Quarantine areas - Appropriate animal housing/farming - Local standard operating procedures - Health screening and monitoring - Personal protective equipment - Animal ethics and welfare - Hazardous waste removal procedures and processes - Workplace adjustments | Health and safety: - Eliminate hazards - Reduce risks - Improve worker wellbeing Other: - Integrate with other processes - Reduce environmental impact - Improve accessibility - Animal Welfare | Rare | Severe | High |
| - Vibration | - Whole body vibration (WBV) − Operating mobile plant and vehicles - Hand arm vibration (HAV): - hand-held power tools and equipment - handling materials being processed by plant and equipment. | Unlikely | Moderate | Medium | - Occupational Health and Safety Act 2004 (Vic) - Occupational Health and Safety Regulations 2017 (Vic) | - Guide to managing risks of hand arm vibration (Cth) - Information sheet whole body vibration (Cth) - Information sheet hand arm vibration (Cth) - Compliance code. Hazardous manual handling (Vic) - Code of practice hazardous manual tasks (Cth) | - Health & Safety: Regulated plant requirements - Health & Safety: Personal protective equipment requirements - Health & Safety: Risk management requirements - Health & Safety: Lock out, tagging and isolation requirements - Health & Safety: Unsafe plant and equipment requirements | - Risk assessments - Local area standard operating procedures | Health and safety: - Eliminate hazards - Reduce risks - Improve worker wellbeing Other: - Integrate with other processes | Unlikely | Minor | Low |
| - Slips, trips and falls from same level | - Traversing campus - Slippery surfaces (eg wet or oily) - Inconsistent stair treads - Uneven surfaces - Loose mat or floor coverings - Obstructions - Change of surface - Damaged equipment - Path of travel: - Obstructed views - Poor lighting - Footwear incompatible with surfaces and conditions - Lack of situational awareness | Likely | Major | High | - Occupational Health and Safety Act 2004 (Vic) | - AS 1657 Fixed platforms, walkways, stairways and ladders - AS 4586 Slip resistance classification of new pedestrian surface materials - Preventing slips, trips and falls under 2 metres (WorkSafe Victoria website) - Slips, trips and falls (SWA website) - Slips, trips and falls: on the same level (SW NSW website) - National Construction Code | - Health & Safety: Risk management requirements | - University design standards - Workplace Inspections - Scheduled cleaning programs - Facilities inspection programs - Hazard Reporting | Health and safety: - Eliminate hazards - Reduce risks - Improve community wellbeing Other: - Integrate with other processes | Unlikely | Moderate | Medium |
| - Load shifting and storage | Critical risk: - Load shifting and storage | Unlikely | Severe | High | - Occupational Health and Safety Regulations 2017 (Vic) Part 3.5 Plant - Occupational Health and Safety Regulations 2017 (Vic) Part 3.6 High Risk Work | - AS 1380 Fibre-rope slings - AS 1418 Cranes, hoists and winches - AS 1666 Wire-rope slings - AS 1892.5 Portable ladders – Selection, safe use and care - AS 2143 Industrial and commercial steel shelving - AS 2359 Powered industrial trucks - AS 2550 Cranes, hoists and winches - Safe use - AS 4084 Steel storage racking - AS 4991 Lifting devices - AS 5079 Filing cabinets - General Guide Industrial Lift Trucks (Cth) - Choosing and using trolleys (WorkSafe Victoria website) | - Health & Safety: Risk management requirements - Health & Safety: Regulated plant requirements - Health & Safety: Workplace inspection requirements - Steel Storage Racking Guidance - Safe Working Loads | - University design standards - Risk assessments - Local standard operating procedures - Manual Tasks Training – Storage - Manual Tasks Training - Using an Office Trolley - Manual Tasks Training – Compactus - Workplace Inspections | Health and safety: - Eliminate hazards - Reduce risks Other: - Availability of consumables, plant and equipment - Integrate with other processes - Reduce waste | Rare | Major | Medium |
| - Excavation and underground activity | Critical risk: - Excavation and underground activity | Rare | Severe | High | - Occupational Health and Safety Act 2004 (Vic) - Occupational Health and Safety Regulations 2017 (Vic) Part 3.4 Confined Spaces - Occupational Health and Safety Regulations 2017 (Vic) Part 5.3 Mines | - AS 5488 Classification of Subsurface Utility Information - Compliance code: Excavation (Vic) - Compliance code: Confined spaces (Vic) - Guide to undertaking work near underground services (Vic) - Excavation and trench safety (WorkSafe Victoria website) - Mines information (WorkSafe Victoria website) - Before you dig website - Model Code of Practice: Excavation work (Cth) - Guide for tunnelling work (Cth) | - Health & Safety: Risk management requirements - Health & Safety: Confined spaces requirements - Health & Safety: Signage requirements - Safety Bulletin: Calibration Requirements for Health and Safety Monitoring Equipment | - Restricted access - Safety signage - University design standards - Safe work method statements - Battering / Benching - Shoring - Trench shields - Permit to work | Health and safety: - Eliminate hazards - Reduce risks - Improve worker wellbeing Other: - Integrate with other processes - Availability of plant, equipment and infrastructure | Rare | Moderate | Low |

Scheduled carcinogens, Scheduled poisons, Schedule 9 hazardous substances, Hydrofluoric acid, Crystalline silica, Asbestos, Picric acid, Lead, Engineered nanoparticles, Precursor chemicals and Ammonium Nitrate

SCUBA diving, free diving, watercraft operation, unsupervised swimming, snorkeling and wading, and swimming pool operation

Cohorts at higher risk of exposure to bullying: young workers, apprentices & trainees, minority group members - ethnicity, religion, disability, gender or sexual preferences, casual workers, new workers, injured workers, workers on return to work plans, piece workers, volunteers, work experience students and interns

Cohorts at higher risk of exposure to sexual harassment: women, gay, lesbian, bisexual, transgender, or another gender or sexual identity, people under 40 years of age, people who identify as Aboriginal and Torres Strait Islander, people with a disability

Cohorts at higher risk of exposure to occupational violence: University security, library, MU sport, museums & collections, public events, performances & gatherings, clinical services, childcare services, commercial services (eg parking), Stop1, reception areas, school visits, travellers, service centre, medical and allied health care services.